## Slide 1: Generating Spectra using PCA-Based Mixture Models
April 9, 2019 Joseph S. Makarewicz Heather D. Makarewicz

## Slide 2: Outline
Background
  VNIR Spectrum
  Mixture Datasets
PCA-Based Spectra Mixture Model
  Spectra Pre-processing
  Principle Component Analysis
  Principle Component Correlation
Binary Mixture Models
Spectra Generated from a PCA-Based Mixture Model
Discussion
Future Work

## Slide 3: Background
Spectra
  A plot of reflective intensity versus wavelength
    Green (0.52 - 0.56 µm)
    Yellow (0.56 - 0.59 µm)
    Orange (0.59 - 0.635 µm)
    Red (0.635 - 0.7 µm)
    Infrared
  Acquired with a spectrometer
  Large spectral libraries available
    USGS
    RELAB
Mixture Datasets
  Minerals are mixed to understand how spectral features change with mineral composition.

## Slide 4: Spectra Pre-processing
Crop
  All spectra must have the same range of wavelengths.
  0.4 um to 2.6 um
Resample
  Fine enough to resolve spectral features
  0.002 um
Normalize
  Area under spectrum equal
  500

## Slide 5: Principle Component Analysis
Subtract the Mean Normalized Spectrum
  Similar to 50% Gypsum
  Features from all sample spectra
Computed Using Singular Value Decomposition
  A set of PC vectors
  Sets of PC values
%GYP | PC1 Value
100 | -2.5226
95 | -1.7431
80 | -1.4178
50 | 0.6028
20 | 1.2478
10 | 1.5290
0 | 2.3038

## Slide 6: Principle Component Correlation
First Principle Component was correlated with Percent Gypsum
Linear Regression
  %GYP = 50.7 + 21.9 × PC1 value

## Slide 7: Binary Mixture Models – Clinopyroxene-Orthopyroxene
Wavelength in Microns
Scaled Reflectance
Scaled Reflectance
OPX
CPX
Mean
PC Vector 1 PC Vector 2
Wavelength in Microns
PC1 Value
%CPX
  <45um: %CPX = 50 + 10 × PC1 value
  >45um: %CPX = 50 + 5 × PC1 value

## Slide 8: Binary Mixture Models – Kaolinite-Montmorillonite
  %SWY-2 = 56 + 52 × PC1 value

## Slide 9: Binary Mixture Models – Nontronite-Ferrihydrite
  %Nau-1 = 62 - 48 × PC1 value

## Slide 10: Binary Mixture Models – Gypsum-Quartz

## Slide 11: 90% Gypsum – 10% Quartz

## Slide 12: Binary Mixture Models – Gypsum-Dolomite
  %GYP = 50.7 – 21.9 × PC1 value

## Slide 13: 90% Gypsum – 10% Dolomite

## Slide 14: Discussion
Generated Spectra
  High frequency noise
  Large spike artifact in the lower wavelengths
  Could be smooth with median filter

## Slide 15: Future Work
Apply algorithm to small sets of binary and tertiary mixtures.
Apply algorithm to larger sets of various minerals for coarse identification of mineral presence.
  Variance will increase amongst sample spectra
  More principle components vectors and values will need to be retained
  PC vectors will represent bands that are unique to different mineral groups
Use models to identify minerals and estimate mineral abundance in lunar and Martian hyper spectral images.
Develop web-based tools for mineral identification.