## Slide 1: ONU Ward Field Parking Facility
Project #2020-17
Final Presentation
Eric Everley, Joel Hasselbring, Robert 'RW' Rienow, Micah Rodriguez

## Slide 2: Acknowledgements
Dr. Walter 'Woody' Webb – VP for Student Development
Professor Ragan – Project Mentor
Jacob Carlile – Architect, Carlile Group
Rob Lalumendre – ONU Facilities
Dan Farr - ONU Facilities
Darren Blair – ONU Public Safety

## Slide 3: Presentation Outline
Background and Problem History
Problem Statement
Design Alternatives
Final Design
Design Validation
Conclusion
Questions and Answers

## Slide 4: Sponsor Background
Olivet Nazarene University
Established in 1907
Moved to Bourbonnais, Illinois in 1940
Over 120 areas of study
Education with a Christian Purpose

## Slide 5: Problem History
Parking Issues
Est. 2400 on-campus students
Est. 300+ faculty/staff/workers
2000 total inner campus parking spots
  70% students
  30% faculty/staff/workers
Potential Deficit: 700-1000 spots
2012 – Construction of Perry Rec. Center
Future – Construction of New Female Dorm

## Slide 6: Presentation Outline
Background and Problem History
Problem Statement
Design Alternatives
Final Design
Design Validation
Conclusion
Questions and Answers

## Slide 7: Problem Statement
The client’s need for more parking stems from three major areas; expansion, special events, and current population.

## Slide 8: Design Objectives
Increase Parking Spaces
  (1020 total/1F-255, 2F-284, 3F-319, 4F-163)
Football Locker Rooms/Offices/Training Area
Commuter Lounge
Blend With Campus (Brick and Limestone)

## Slide 9: Functional Requirements
Provide adequate inner campus parking
Provide home and visitor locker rooms
Provide training area
Provide a commuter lounge
Provided adequate space for Olivet Facilities department and maintenance personnel
Must use similar materials as other campus buildings
Must be easily accessible to and from University Ave

## Slide 11: Project Constraints
Design
Existing Physical Boundary
4 Story Maximum Height
ADA Regulations
Building Code Restrictions
Cost (Not yet in effect)
Realistic
Soil/Land Components
Safety Concerns
Design Guides
Coronavirus

## Slide 12: Selection Criteria
Objectives | Grading Metrics
Fulfills parking spot needs currently and in the future | One (1) point will be given for every 50 parking spots that the facility provides.
Exterior façade coordinates with other buildings and styles on campus | The exterior façade matches with surrounding buildings and blends into campus seamlessly. (0-15 Points)
The parking garage allows for easy traffic flow to/from University Ave. | The design of the parking facility is easily accessible from existing roads & is centrally located in the account of future expansion. (0-10 Points)
The parking garage provides a home and visitor locker room, training room, laundry room, and a lounge for commuter students. | The design of the parking facility provides enough space for a new home and away locker room, a training room, a laundry room, a mechanical room, extra storage space, and a lounge and patio area for commuter students. (0-15 points)

## Slide 13: Presentation Outline
Background and Problem History
Problem Statement
Design Alternatives
Final Design
Design Validation
Conclusion
Questions and Answers

## Slide 14: Design Alternatives
Initial Design:
Included one building simply for parking
What our client initially envisioned

## Slide 15: Design Alternatives
Alternative Design 1:
Included two separate buildings
  Possibility of football and commuter space
Achieved goal of more parking

## Slide 16: Design Development
One structure which takes up the entire parking lot between Ward Field and Centennial Chapel
Football space and Commuter space
Plenty of parking spaces to allow Olivet to expand and not worry about eliminating other parking

## Slide 17: Parking Initial Concept

## Slide 18: Presentation Outline
Background and Problem History
Problem Statement
Design Alternatives
Developed Design
Final Design
Design Validation
Conclusion
Questions and Answers

## Slide 19: Developed Design
One structure which takes up the entire parking lot between Ward Field and Centennial Chapel
2 entrance/exits (N and W sides)
Glass stairwells (NW, SW, and SE corners)
1 centrally located glass elevator and stairwell (N side)
Commuter lounge
Outdoor commuter patio
Football area (home/away locker rooms, laundry services, training room)
Mechanical/electrical room
Estimated cost: $10-12 million
Notes: Eric

## Slide 20: Proposed Design – Level 1
N
University Ave.
Existing Parking Lot
Existing Parking Lot
Football Area
Commuter Area
Main Entrance
Alt. Entrance
Notes: Eric

## Slide 21: Proposed Design – Level 2
N
Notes: Eric

## Slide 22: Proposed Design – Level 3
N
Notes: Eric

## Slide 23: Proposed Design – Level 4
N
Notes: Eric

## Slide 24: Proposed Design – North Elevation
Commuter Lounge Entrance
Main Entrance and Stairwell/Elevator
Notes: Eric

## Slide 25: Proposed Design – North Elevation cont.
Ramp Design
NW Corner Stairwell
Notes: Eric

## Slide 26: Proposed Design – East Level 1
Home Lockers
N
Away Lockers
Commuter Lounge
Outdoor Area
Mech.
Rest of Floor 1 (Parking)
Notes: Eric

## Slide 27: Proposed Design – East Level 2
N
Training Room
Offices
Open Space
Mech.
Rest of Floor 2
(Parking)
Notes: Eric

## Slide 28: Presentation Outline
Background and Problem History
Problem Statement
Design Alternatives
Final Design
Design Validation
Conclusion
Questions and Answers

## Slide 29: Final Design – 3D Perspective

## Slide 30: Material
East
  Curtain Wall- Storefront
  EPDM Roofing
West
  Brick and Limestone
  Architectural Mesh
Stairwells
  Curtain Wall- Storefront

## Slide 31: Final Design – Level 1
N
East
  Locker rooms
  Commuter Lounge
West
  Lot
  Ramps
  Stairwells

## Slide 32: Final Design – Level 1 Lot
Southwest Corner at Alternate Entrance

## Slide 33: Final Design – East Level 1
N

## Slide 34: Commuter Lounge
Lounge
  Single Bathroom
  Tables & Chairs
  Similar to Oaks Treehouse

## Slide 35: Locker Rooms
Home
  Showers
  Lockers
  Bathroom
Visitor​
  Smaller Area​
  Lockers ​
  Bathroom

## Slide 36: Final Design – Level 2
N
East
  Athletic Offices
  Training Area
West
  Lot
  Ramps
  Stairwells

## Slide 37: Final Design – East Level 2
N
Training Area
Offices

## Slide 38: Final Design – Level 2 Offices
N

## Slide 39: Final Design – Level 3
N
East
  Loft
  Empty
West
  Lot
  Ramps
  Stairwells

## Slide 40: Final Design – Level 3 Lot & Ramp

## Slide 41: Final Design – East Level 3
N

## Slide 42: Final Design – Level 4
East
  EPDM Roof
West
  Lot
  Ramps
  Stairwells
N

## Slide 43: Final Design – East & West Elevation
East Elevation
West Elevation

## Slide 44: East Section

## Slide 45: Final Design – North & South Elevation
North Elevation
South Elevation

## Slide 46: Final Design – Garage Stairwells

## Slide 47: Final Design – Garage Stairwells
Southwest Corner
Northwest Corner
North Center

## Slide 48: Final Design – 3D Perspective

## Slide 49: Presentation Outline
Background and Problem History
Problem Statement
Design Alternatives
Final Design
Design Validation
Conclusion
Questions and Answers

## Slide 50: Testing & Validation Plan Summary
Number of spots - estimated 1020 spots
  Weber – 422 spots
  Chapel East (footprint) – 440 spots
  Net Spots Gained: 200
If football area meets needs of program
  Locker Room Size
  # of bathrooms, showers, etc.
Commuter Lounge
  Comfortable space for students
  Amenities

## Slide 51: Benefits
Convenient event and student parking
More available space in Gibson-Ide
New commuter space

## Slide 52: Recommendations
Creating a schedule and being disciplined about sticking to it
Working on the project in between meetings
Assign separate tasks and define them for each team member
Start in a modeling software and stick with it

## Slide 53: Conclusion
Our design to solve the issue of parking at ONU will be a four-story multipurpose parking facility encompassing the entirety of the parking lot east of Centennial Chapel.

## Slide 54: Questions and Comments
We will now take time for questions and comments.